HAMILTON BRANCH COMMUNITY SERVICES DISTRICT

BOARD MEETING MINUTES JUNE 23, 2026

MEMBERS PRESENT: Albert (Bud) Bosworth, Brett Hurff, Christine Delucchi, Sean McHugh

MEMBERS ABSENT: James Lee

OTHERS PRESENT: Mike Saitone, Angela Lopez

CALL TO ORDER: Vice President Brett Hurff called the meeting to order at 5:05 PM

PREVIOUS MINUTES APPROVAL: Christine made a motion to approve the minutes of the May 26, 2026 meeting, Sean second the approval. All in favor.

PUBLIC COMMENT: None

FIELD MANAGERS REPORT:

• JD is finishing up meter reads for July-Aug billing cycle.

• JD has installed 4 new service connections.

• 147 tank has been dropping considerably low. There is a 2 inch line to this tank. We believe the line connected to property at end of Mary Ann Drive has something to do with the pressure to the 147 tank. JD adjusted a few valves and we were able to get the tank back up to operating levels, however still trying to remedy this to get the tank back to its regular operating levels around 12-14 feet. This is usually where the water level sits in the summer months.

MANAGERS REPORT:

• Looking great financially. Five Star Bank $1,006,998.86. LAIF current balance $6,037.16.

• We are currently preparing for our audit which will take place July 16, and 17 with Singleton/Auman.

• Currently paid, and up to date on all expenses for new well.

NEW BUSINESS:

- State has approved 10 new service connections January 1st 2025- Current. All new applications for connections received by our office must be processed through the state. If the approval is granted the customer pays $1,300.00 for the new connection and gets put on a wait list, the customers check is not cashed until the meter is set. JD is purchasing parts, and setting meters in order received.

- We are looking at getting a mini split air conditioning system for the office. Around noon each day in the summer months it is almost unbearable for office staff due to heat. We received a bid from Energy Solutions. Directors suggest getting a few more bids before making final selection. We will revisit this at the next board meeting.

- Bud made a motion to approve the Fiscal 2026/2027 Budget. Brett second the approval. All in favor.

- Christine made a motion to approve the State Water Resources Control Board Amendment Request Form. Sean second the approval. All in favor.

OLD BUSINESS:

- Welfare of spring and state response. Waiting on state to approve next step and move forward.

- Nothing further for customer with water main on hillcrest crossing driveway. Waiting on contractor and owner.

- Owner of Foxwood has given us permission to commence work. Waiting on state approval.

CORRESPODENCE: None

NEXT REGULAR SCHEDULED MEETING: July 28, 2026 @ 5:00 PM

CLOSED SESSION PER GOVERNEMENT CODE 54956.9: None

MEETING ADJOURNED: Vice President Brett Hurff adjourned the meeting at 5:56 PM.

Respectfully Submitted

Albert “Bud” Bosworth